| STEAM HEATING BOILERS | Maintenance • Testing • Inspection Log |
| --- | --- |

| BUILDING | ADDRESS | MONTH | YEAR | FUEL TYPE | BOILER NO. |
| --- | --- | --- | --- | --- | --- |
| PERSONS TO BE NOTIFIED IN CASE OF EMERGENCY (INCLUDE NAME AND PHONE NUMBER) |  |  |  |  |  |

| DAILY MAINTENANCE INSPECTION CHECKS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DATES | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 |  | 19 | 20 | 21 | 22 | 23 | 24 |  | 25 |  | 26 | 27 | 28 | 29 | 30 | 31 |
| Checked by (please initial): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Observe Water Level |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Record Boiler Pressure |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Record Flue Gas Temp. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| WEEKLY MAINTENANCE INSPECTION CHECKS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| WEEKS |  |  | WEEK 1 |  |  |  |  |  |  |  | WEEK 2 |  |  |  |  |  |  | WEEK 3 |  |  |  |  |  |  |  |  | WEEK 4 |  |  |  |  |  |  |  |
| Checked by (please initial): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Test Low Water Cut-off |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Test Gage Glass |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Observe Flame Condition |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MONTHLY MAINTENANCE INSPECTION CHECKS (Enter Date Checked) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Manual Lift Relief Valves | Relief Valve Check Date: |  |  |  |  |  |  |  |  |  | Date Checked |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Date Checked |  |  |  |  |  |  |  |
| 2. Review Condition of each item and/or Test each item | A. Linkages |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | F. Floor Drains |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | B. Damper Controls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | G. Flame Detection Device |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | C. Stop Valves |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | H. Limit Controls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | D. Refractory |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | I. Operating Controls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | E. Flue-Chimney Breeching |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Observe gage glass on expansion tank |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Weekly and Monthly Checks Performed by: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Combustion Air adequate/unobstructed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

COMMENTS: